| Qty | Unit | Name of Equipment | Description/Specification | Date Delivered | Serial No. | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | unit | Carrier Air Conditioner | Split Type / White |  | D209038970313709170214 | Functional |
| 1 | unit | Carrier Air Conditioner | Indoor / White |  | 42BFEFSUCAR05TEEE13PC-0174757 | Functional |
| 1 | unit | Acer Mouse | Black and Gray |  | HC547080YYC | Functional |
| 1 | unit | System Unit | Clone Wi-Fi Server / Black (RUCKUS) |  |  | Functional |
| 1 | unit | A4 Tech Keyboard | Black |  | 1612 | Functional |
| 1 | unit | Samsung Monitor | LCD / Black |  | ZZS8H4TH9 | Functional |
| 1 | unit | UPS | Phoenix V 2000 / Black |  | 00563J | Defective Battery |
| 1 | unit | Lenovo System Unit | MT-M 10AQ-CO4VPC / Black (EDIS) |  | PB0256BM | Functional |
| 1 | unit | Yealink VOIP | T21P / Black |  | 4103813102401448 | Functional |
| 1 | unit | IBM System Unit Server | Black (Library System) |  | 2582B2A-06 BBFXN | Functional |
| 1 | unit | HP Proliant Server | DL360 G7 / Black (Caritas/UNIFI Controller) |  | SGH2122F0F | Functional |
| 1 | unit | HP Proliant Server | DL380 G7 / Black (Xen Server) |  | SGH134XH4W | Functional |
| 1 | unit | HP Proliant | DL320e Gen8 / Black |  | SGH251J1DP | Functional |
| 1 | unit | Tenor AX Series | Quintum Technologies / White |  | A052-305F27 | Functional |
| 1 | unit | Emerson Network Power | Black |  | 1434003193AF433 | Defective Battery |
| 1 | unit | Emerson Network Power | Black |  | 1434003190AF433 | Defective Battery |
| 1 | unit | Nortel Network | White |  | CNP3JY0EAA | Defective Battery |
| 1 | unit | Aruba Switch | Aruba2920-48G PoE+Switch (J9729A) | Replaced 6/13/2016 | SG64FLZ2MD | Functional |
| 1 | unit | Fortinet | Fortinet 620B / Black and Silver |  | FG600B3909601279 | Functional |
| 1 | unit | CISCO | Cisco 4351 Series / Black | 9/14/18 | FD02107A250 | Functional |
| 1 | unit | Huawei | PAC-60WG-L | 9/14/18 | 219801065428 | Functional |
| 1 | unit | Emerson Network Power | GXT10000-MT |  | J56007101 / 09072-07180001 | Defective |
| 1 | unit | Lenovo System X | IBM System X3650 M5 Server (SIAS) | 3/17/2016 | J3032MZ | Functional |
| 1 | unit | Core Switch | Cisco Catalyst 4500-X – Switch – 32 x 10 | 6/26/2018 | JAE22170DEL | Functional |
| 1 | unit |  | Caralyst 4500X 750W AC front to back coo |  | QCS21503CC5 | Functional |
| 1 | unit |  | Catalyst 4500X 750W AC front to back coo |  | QCS21503CK3 | Functional |
| 1 | unit |  | Catalyst 4500X Network Module Blank |  |  | Functional |
| 2 | units |  | NEMA 5-15 TO IEC-C15-US |  |  | Functional |
| 1 | unit |  | CAT4500-X Universal Crypto Image |  |  | Functional |
| 1 | unit |  | IP Base to Ent. Services license for 32 |  |  | Functional |
| 2 | units | Socomec UPS | NPR – 1700 - RT |  | AN17A00033 | Functional |
|  |  |  |  |  | AN17A00046 | Functional |
| 5 | units |  | Gigabit Ethernet Media Converter |  | 882013060461004 | Functional |
|  |  |  |  |  | 882013060461003 | Functional |
|  |  |  |  |  | 882013060461005 | Functional |
|  |  |  |  |  | 882013060461008 | Functional |
|  |  |  |  |  | 882013060461001 | Functional |
| 1 | unit | Panasonic | Panasonic KX-NS100 IP-PBX Main unit with 300 SIP Capacity |  | 8JATU003391 | Functional |
| 1 | unit | Panasonic | Panasonic KX-TDE620 Expansion Shelf |  | 8FBCF007428 | Functional |
| 1 | unit | Panasonic | Panasonic KX-NT553X Operator Phone |  | 8JATH007480 | Functional |
| 1 | unit | Panasonic | Panasonic KX-NT505X DSS Console |  | 8FBCF007428 | Functional |
| 3 | Set | Battery | PBX Back-Up Battery |  |  | Functional |
| 1 | unit | FG-601E | 2 x 10GE SFP+ slots 10xGE RJ45ports stor | 6/1/2020 | FG6H1ETB19903644 |  |
| 1 | unit | FC-10-F6H1E9500212 | Unified (UTM) Protection 24x7 FortiCare |  |  |  |
| 2 | units | FG-TRAN-SFP+SR | Transceiver – 10GBase-SR-plug-in modul |  | A2CA2VD, A2CAP44 |  |
| 1 | unit | SP-FG300E-PS | AC Power Supply for FG-300/301E and FG |  | XQ1945RH4578 |  |
| 1 | unit | COTERM-FG620B | Coterm End date May 15, 2020 |  |  |  |
| 2 | units | FTLF8519P3BNL | SFP Module 850nm 14-35 |  | N2JA9G7, N2JAB10 |  |
| 1 | unit | Server | PowerEdge R440 Server | 9/22/2020 | 3PZKX53 | Functional |