| 10 | pieces | padlock |  |  | 2/8/26 | Chao long | new |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 24 | Pieces | Tunning fork |  |  | 1/13/26 |  | New |
| 24 | pieces | Percussion hammer |  |  | 1/13/26 |  | new |
| 1 | unit | Steel glass cabinet |  | VR suite | 1/14/26 | 5 layered glass cabinet | new |
| 24 | Pcs | Reflex hammer |  | CSSD | 1/13/26 |  | new |
| 24 | pcs | Tunning fork |  | CSSD | 1/13/26 | With bell | New |
| 1 | unit | Baby’s weighing scale digital |  | ICU suite | 12/2/25 | digital | new |
| 1 | unit | Baby’s weighing scale manual | SN# M34320-0402 | ICU suite | 12/2/25 | manual | new |
| 1 | unit | Standing weighing scale |  | ICU suite | 12/2/25 | manual | new |
| 2 |  | Baby bath/stainless trolley |  | ICU suite | 12/2/25 | stainless | new |
| 5 |  | Stainless medical trolley |  | ICU suite | 12/2/25 | stainless | new |
| 4 |  | Stainless medical trolley w/ bowl |  | ICU suite | 12/2/25 | stainless | new |
| 3 |  | Stainless trolley |  | ICU suite | 12/2/25 | stainless | new |
| 1 | UNIT | SOCOMEC UPS 650 VA | SN# 8027122636742 | CSSD | 10/25/25 |  | New |
| 4 | Unit | Bassinet |  | Neonatal Intensive suite | 10/22/25 |  | New |
| 3 | unit | B/P Apparatus with stand |  | Triage/ER/ICU | 10/22/25 | manual | New |
| 1 | unit | Crash cart |  | ER | 10/22/25 | Blue/red | New |
| 2 | unit | Labor and delivery bed |  | Maternity Suite | 10/22/25 | Pink foam | new |
| 1 | unit | Portable speaker |  | CSSD | 10/22/25 | With 2 mic | New |
| 10 | unit | Virtual Reality | SN# 340YB02G9S01ZV | VR suite | 10/22/25 | Meta Quest 3S | New |
|  |  |  | SN#340YB02G9S01NW |  |  |  |  |
|  |  |  | SN#340YB02G9S01GP |  |  |  |  |
|  |  |  | SN#340YB02G7M021T |  |  |  |  |
|  |  |  | SN#340YB02GB50078 |  |  |  |  |
|  |  |  | SN#340YB02G9S01H9 |  |  |  |  |
|  |  |  | SN#340YB02G9S004J |  |  |  |  |
|  |  |  | SN#340YB02G8X00LN |  |  |  |  |
|  |  |  | SN#340YB02G9S002J |  |  |  |  |
|  |  |  | SN#340YB02G7M02GG |  |  |  |  |
| 10 | unit | Bedside table |  | ER/ICU/Neo/Maternity suite | 10/17/25 | Cream wooden | new |
| 1 | unit | Computer /ACER/Intel Core 5 | S/N DQBM4SPOO15350213B3000 | CSSD | 10/17/25 | White/ACER | new |
| 10 | unit | Bedside cabinet |  | ER/ICU/Surgical/Post suite | 10/10/25 | Blue/red | new |
| 1 | unit | Commode chair |  | Surgical suite | 10/10/25 |  | new |
| 3 | unit | Electrical bed |  | ICU suite | 10/10/25 | electrical | new |
| 3 | unit | Transfer trolley bed |  | ER suite | 10/10/25 | blue | new |
| 1 | Unit | Heavy duty paper shredder |  | CSSD | 10/6/25 | gray | new |
| 1 | unit | Hot and cold water dispenser |  | CSSD | 9/29/25 | Fujidenzo | new |
| 1 | Unit | Refrigerator 2 door (FUJIDENZO) |  | CSSD | 9/29/25 | Hisence | new |
| 24 | each | Sharp bin |  |  | 9/23/25 | yellow | new |
| 1 | Set | Male/female catheter |  | ICU suite | 7/24/25 | manekin | new |
| 2 | unit | Automatic External Defibrillator/AED | S/N DM2503002C | ER | 4/27/2025 | surrmed | In good condition |
|  |  |  | S/N DM 2503001C | ICU |  | surrmed |  |
| 1 | unit | Steel cabinet Hermaco |  | SNAHS office | 4/25 | Hermaco | new |
| 2 |  |  |  | CSSD |  | Hermaco |  |
| 12 | set | Wooden divider |  |  | 4/24/25 | Dark brown | new |
| 1 | Unit | Printer( Epson L3210) |  |  | 10/26/24 | epson |  |
| 10 |  | Intravenous Infusion Pump(Surrmed) | SN# XA20B2D06AAB09 | GS 401 | 11/29/23 9/4/24 | MED | Functioning/ In good condition |
|  |  |  | SN# 710224080227 | GS 401 |  |  |  |
|  |  |  | SN# XA20B2D06ACB07 | GS 401 |  |  |  |
|  |  |  | SN# 710224080225 | GS 401 |  |  |  |
|  |  |  | SN# 710224080231 | CSSD |  |  |  |
|  |  |  | SN# 710224080232 | CSSD |  |  |  |
|  |  |  | SN# 710224080230 | CSSD |  |  |  |
|  |  |  | SN# 710224080227 | CSSD |  |  |  |
|  |  |  | SN#XA20B2D06ABB05 | CSSD |  |  |  |
|  |  |  | SN# XA20B2K13CKB10 | CSSD |  |  |  |
| 12 | pairs | Crutches |  |  | 9/4/24 | lightweight | In good condition |
| 19 |  | Baby bath tub |  |  | 9/4/24 | plastic | In good condition |
| 8 |  | Glucometer machine |  |  | 9/4/24 | Onetouch.Advan |  |
| 15 |  | IV stand |  | GS 401,402,407, SNAHS ER/ICU suite | 6/25/24 |  |  |
| 9 | bottles | Glucostrips 25's |  |  | 9/4/24 | Onetouch, Advan |  |
|  |  | Orthopedic wheelchair |  |  | 9/4/24 |  | old |
| 2 | unit | ECG machine | SN#23110200007 | CSSD | 2024 | CONTEC | Functioning |
|  |  |  | SN#21030700029 |  |  |  |  |
| 2 |  | Computer monitor | For computer operations | GS building 401 |  | Black/ | Old/Functioning |
| 2 |  | CPU Unit |  | GS building 401 |  |  | Old/Functioning |
| 8 |  | Extension wire | Electrical extension for equipment |  |  |  |  |
| 3 |  | Fetal Doppler | S/N 7034E110233100100282 | CSSD |  | TOPCARE | Functioning |
|  |  |  | S/N# 7034E110233100100084 |  |  |  |  |
|  |  |  | S/N# 7034E110233108100307 |  |  |  |  |
|  |  |  | S/N# 7034E110233100100293 |  |  |  |  |
|  |  |  | S/N# 7034E110233100100060 |  |  |  |  |
| 1 |  | Fogging machine |  | CSSD |  |  | old |
|  |  | Forcepts: Adison forcep |  | CSSD |  | Metal | In stock |
| 1 | Pc. |  |  |  |  |  |  |
| 6 | Pcs. | Backhose towel clamp |  |  |  |  |  |
| 1 |  | Korcher clamp/forcep |  |  |  | Metal |  |
| 11 | Pcs. | Bobcock clamp forcep |  |  |  |  |  |
| 5 | Pcs. | Allice tissue forcep |  |  |  |  |  |
| 37 | Pcs. | Straight artery forcep |  |  |  |  |  |
| 86 | Pcs. | Curved artery forcep |  |  |  |  |  |
| 4 | Pcs. | Ovum forcep |  |  |  |  |  |
| 4 | unit | LCD TV | SN # 106INZY2E197 | GS 407 |  |  | Requested for J.O.-to check if it’s still working |
|  |  |  | SN# 106INQU2E196 |  |  |  |  |
|  |  |  | SN# 106INKH2E181 |  |  |  |  |
|  |  |  | SN# 106INZY2E173 |  |  |  |  |
| 46 | Pcs. | Medicine tray (plastic) | For medicine prep |  |  | plastic | In good condition |
| 1 |  | Mouse | For computer use |  |  | Black with cord | Not functioning |
| 11 |  | Nebulizer machine | SN# 00041838 | CSSD |  | Wireless/white | functioning |
|  |  |  | SN# 00041837 |  |  | OMRON MICELFLUSS F400 |  |
|  |  |  | SN# 00041836 |  |  |  |  |
|  |  |  | SN# 00041833 |  |  |  |  |
|  |  |  | SN# 00041834 |  |  |  |  |
|  |  |  | SN# 20171001373UF |  |  |  |  |
|  |  |  | SN# 20171000094UF |  |  |  |  |
|  |  |  | SN# 420858/L1 |  |  |  |  |
| 5 |  | Suction machine | SN# M 190711828 | GS 401 |  | portable TMS | Functioning |
|  |  |  | SN# M190711247 | GS 401 |  |  |  |
|  |  |  | SN# M190711827 | CSSD |  |  |  |
|  |  |  | SN# M190711248 | CSSD |  |  |  |
|  |  |  | SN# M181105649 | CSSD |  |  |  |
|  |  | Stylet for intubation |  |  | 6/25/24 |  |  |
| 42 |  | Urinals |  |  | 11/18/23 | plastic | In good condition |
| 4 | each | Projector |  |  |  |  | Functioning |
| 42 | each | Bed pan |  |  | 11/18/23 | Plastic blue/green | In good condition |
| 15 |  | Tuning Fork |  | GS 401, CSSD |  | Metal | In good condition |
| 10 |  | Emergency box cabinet |  | ICU, NICS | 11/30/23 | Plastic, white/cream | In good condition |
|  |  | Surgical scissor: |  | CSSD |  | metal | In good condition |
| 5 | Pcs | Dressing scissor |  |  |  |  |  |
| 6 | Pcs | Bandage scissor |  |  |  |  |  |
| 7 | pcs | Mayo curved scissor |  |  |  |  |  |
| 14 | piece | Percussion hammer |  | CSSD |  |  | In good condition |
| 4 | piece | Instrumental tray |  | CSSD |  | Small, stainless | In good condition |
| 10 | Each | Kelly pad |  |  |  | Red, rubber | Old/ worn out |
| 1 | Each | Orthopedic Rack |  | Ortho suite |  |  | old |
| 4 | Each | Laryngoscope |  | CSSD |  | Battery operated | functioning |
| 10 | Each | Otoscope |  | CSSD |  | Battery operated | Functioning |
| 4 | Each | Oxygen Tank w/ trolley |  | GS 401 |  | Medium size | Functioning |
| 12 | Each | Incentive Spirometer |  | CSSD |  | plastic | Functioning |
| 6 | Set | Intubation set |  | CSSD |  | stainless | Functioning |
| 49 | each | Pulse Oximeter |  | CSSD |  | INMED,Oxywatch, KingMed | Functioning |
| 5 | each | Thermometer |  | CSSD |  |  | Functioning |
| 4 | Set | Resuscitation ( pedia) |  | CSSD |  | Partners | Parts are missing |
| 5 | set | Resuscitation ( adult) |  | CSSD |  | partners | Parts are missing |
| 27 |  | Tray(plastic) white |  | CSSD |  |  | new |
| 19 | Pcs | Stethoscope (dual head) |  | CSSD |  | black | Functioning |
| 12 | Pcs | Stethoscope |  | CSSD |  | Black,gray,pink | Functioning |
| 2 | Pcs | Tray |  | CSSD |  | stainless | In good condition |
| 4/4 | each | Walker |  | ORTHO suite/GS 401 |  | Black, gray | In good condition |
| 11 | unit | Patient’s bed |  | GS 402,403,404,405, 406,407 |  | Metal/wood | Too old /parts destroyed |
| 2 | unit | Ortho bed |  | GS 401, 406 |  | metal | Old |
| 10 | unit | wheelchair |  | ER, Demo room, maternity suite, GS 407 |  | Blue/black | Foot rests difficult to assemble |